## Overview and mapping guidance
Pool Plant Operative Mapping Template
Edition: V2
Publication date: June 2022
Navigating this document
Overview and mapping guidance - you are here! Complete areas in blue.
Mapping template to reference and evidence where the professional standard is being met by the course/ participant/ qualification
Please complete the blue area on this page (fully for qualifications and degrees, where relevant for CPD)
N.B. Examples (e.g.) are given within the LDRs to provide an overview of the knowledge and skills most relevant to the role. It is not mandatory to assess learners against 100% of the examples provided, however, sufficient coverage to ensure occupational competence on achievement must be ensured. This will be reviewed as part of the CIMSPA endorsement process.
1 Overview
Professional Standard: Pool Plant Operative
· Establish the essential knowledge, skills and behaviours that are needed to meet the sector minimum deployment standards for a given role.
· Contain learning and development requirements (LDRs) that consist of a detailed breakdown of the minimum skills and knowledge needed to be competent in a role.
· Are developed in conjunction with employers and technical experts in order to match the demands of the role within the workplace.
The agreed industry prerequisite to undertake a role in the sport and physical activity sector is to have achieved a CIMSPA endorsed educational product that meets this Professional Standard. Graduates of this standard will meet the requirements to be a CIMSPA member under the relevant membership category.
To achieve CIMSPA endorsement, mapping evidence corresponding to the relevant role should be completed and submitted. The mapping evidence covers the learning and development requirements and the product development guidance contained in the Professional Standard for the role.
Educational products
The relevant CIMSPA employer group has agreed the professional standards for core job roles can be mapped to the following educational products:
Educational product | Mapping requirements | Professional Standard Coach attained on Achievement?
Regulated vocational qualification | Fully mapped | YES/NO
Trailblazer apprenticeship programme | Fully mapped | YES/NO
HE programme/modules | Fully mapped | YES/NO
CPD programme/modules | Partially mapped | YES/NO
· All educational products submitted for endorsement must follow the product development guidance outlined in the professional standard.
· The learning development requirements must be met in full. Where in limited cases the submitting agency feels an outcome cannot be met a written explanation must be provided this will then be explored further with the submitting agency.
2 Product mapping guidance
Evidence number | Level and Total Qualification Time (TQT) | Evidence (A rationale/overview must be provided for each)
QUALIFICATION DESIGN
1 | Qualification level assigned (England/Wales/NI and Scotland). | Can include levelling table.
2 | TQT assigned, to include:
(a) The number of hours assigned to Guided Learning, and,
(b) An estimate of the number of hours a Learner will reasonably be likely to spend in preparation, study or any other form of participation in education or training, including assessment, which takes place as directed by – but, unlike guided learning, not under the Immediate guidance or supervision of – a lecturer, supervisor, tutor or other appropriate provider of education or training.
Source: ‘Total Qualification Time Criteria for All Qualifications’ (Ofqual, 2015)
HUMAN RESOURCES/SYSTEMS
3 | Robust systems to support quality control of assessment in place.
4 | Qualified external verifiers, tutors, assessors and internal verifiers.
ASSESSMENT AND EVIDENCE GENERATION
5 | Appropriately weighted formative and summative assessment methods.
6 | Assessment of occupational competence ‘on the-job’/ ‘at work’.
7 | Assessment is completed with ‘real clients/participants’.
E info@cimspa.co.uk
T 03438 360200
Chartered Institute for the Management
of Sport and Physical Activity,
SportPark,
Loughborough University,
3 Oakwood Drive,
Loughborough,
Leics. LE11 3QF
cimspa.co.uk
Incorporated by Royal Charter.
Charity Registration Number: 1144545.

## Mapping template
Professional Standard: Pool Plant Operative |  |  |  | Partner mapping section |  |  | Moderator feedback section |  |  |  |  | QA feedback section
Ref |  | Knowledge and understanding/ skills: | Professional Standard Content | Evidence (specification reference) | Assessment method | Comments | Score | Mapping to point | % mapped to section | Moderator comments | General feedback | QA comments
1. Understanding the swimming pool industry | K1.1 | Types of facilities | · Identify the range and types of pools used in the leisure sector including: ­ Competition. ­ Fun. ­ Leisure. ­ Outdoor pool. ­ Diving pit. ­ Shallow water pool. ­ Spa. ­ Water feature. |  |  |  | Score | Not/ Partially Mapped | 0
· Know the main purpose of the range and types of pools used in the leisure sector.
| K1.2 | Pool ownership | · Understand the different types of pool ownership to include public and private sector, examples include: ­ Local authorities. ­ Schools. ­ Private pool owner(s). ­ Leisure trusts. ­ Facility management companies. ­ Holiday parks. ­ NHS. ­ Football clubs. |  |  |  |  | Not/ Partially Mapped
| K1.3 | Pool water management | · Understand the importance and factors that influence pool water management to include: ­ Bather type. ­ Environmental. ­ Design. ­ Temperature. ­ Management structure. ­ Age of building. |  |  |  |  | Not/ Partially Mapped
|  |  | · Know the hazards associated with ineffective pool water treatment. |  |  |  | Score
| K1.4 | Pool environment | · Know the process of heating pool water. |  |  |  |  | Not/ Partially Mapped
|  |  | · Understand the principles involved in the heating and ventilating of the pool environment. |  |  |  | Score
2. Health and safety/legal requirements | Ref | K&U | Professional Standard Content
| K2.1 | Legal responsibilities | · Know the legal responsibilities for providing a safe environment. |  |  |  | Score | Not/ Partially Mapped | 0
· Identify the pool plant operative’s responsibilities to meet these legal requirements.
| K2.2 | Risks and hazards | · Understand the potential risks associated with storage and use of chemicals for the treatment of pool water and also the risks and hazards associated with operating pressurised mechanical systems. |  |  |  | Score | Not/ Partially Mapped
|  |  | · Know the requirements for storage and handling of chemicals and know the risks involved with incorrect storage and handling of chemicals used to treat pool water. |  |  |  | Score
|  |  | · Know the additional hazards commonly associated with spa pools and interactive water features. |  |  |  | Score
| K2.3 | Legal and regulatory requirements | · Understand the key pieces of health and safety legislation and how these impact on safe working practices within a pool environment. |  |  |  |  | Not/ Partially Mapped
|  |  | · Know the importance of safe working practices to include: ­ Risk assessments. ­ Pool safety operating procedures. ­ Normal operating plan (NOP). ­ Emergency action plans (EAPs). ­ Safe systems of work. ­ Pool Technical Operating Procedures (PTOPs). ­ Control of Substances Hazardous to Health (COSHH). |  |  |  | Score
| Ref | Skills: | Professional Standard Content
| S2.1 | Report writing | · Complete accurate reports such as record keeping, maintenance and water testing logs, risk assessments, accidents, incidents and near misses. |  |  |  | Score | Not/ Partially Mapped | 0
| S2.2 | Safe working practices | · Demonstrate thorough working practices to ensure safe and smooth running of the pool environment. |  |  |  | Score | Not/ Partially Mapped
3. Pool water testing | Ref | K&U | Professional Standard Content
| K3.1 | Pool water testing equipment | · Understand the different types of pool water testing equipment needed to ensure good quality pool water, including the use of comparators and/or photometers. |  |  |  | Score | Not/ Partially Mapped | 0
| K3.2 | Pool water testing procedures | · Understand the procedures for pool water testing. |  |  |  | Score | Not/ Partially Mapped
|  |  | · Understand the recommended frequency of pool water testing. |  |  |  | Score
| K3.3 | Data collection and analysis | · Understand the optimum range for pool water testing results. |  |  |  |  | Not/ Partially Mapped
· Know how often the tests should be undertaken.
· Know how long the results need to be kept for.
· Understand when corrective action should be taken and when additional testing should occur.
| K3.4 | Chemical influence | · Understand other chemical factors to be tested in swimming pools and recreational water systems. |  |  |  |  | Not/ Partially Mapped
· Describe the objectives of acceptable water balance parameters.
|  |  | · Identify the ideal range, for example total alkalinity and calcium hardness. |  |  |  | Score
|  |  | · Identify the guidance for total dissolved solids. |  |  |  | Score
| Ref | Skills: | Professional Standard Content
| S3.1 | Pool water testing procedures | · Demonstrate the correct methods for carrying out pool water tests. These should include: ­ Free chlorine. ­ Total chlorine. ­ Combined chlorine. ­ pH. ­ Other non-chlorine-based tests. ­ Calcium hardness. ­ Total dissolved solids. ­ Temperature. ­ Total alkalinity. |  |  |  | Score | Not/ Partially Mapped | 0
| S3.2 | Data collection and analysis | · Interpret the results collated from the pool water tests and compare with optimum range and take appropriate action. |  |  |  | Score | Not/ Partially Mapped
|  |  | · Record results in an appropriate format and in a timely manner. |  |  |  | Score
4. Pool plant operations | Ref | K&U | Professional Standard Content
| K4.1 | Water treatment equipment | · Understand the direction of pool water flow and key features on a typical pool schematic diagram. |  |  |  | Score | Not/ Partially Mapped | 0
|  |  | · Understand the function of the main components of a pool plant to include: ­ Filters. ­ Pumps. ­ Strainers. ­ Disinfection and pH control. ­ Automatic dosing units. ­ Main valves. ­ Flocculation/coagulation. |  |  |  | Score
|  |  | · Know the different types of valves in a pool plant to include: ­ Butterfly valve. ­ Ball valve. ­ Gate valve. ­ Multiport valves. ­ Non-return or check valves. |  |  |  | Score
| K4.2 | System and pool design | · Understand the factors to be considered when operating pool water treatment to include: ­ Use. ­ Bathing load. ­ Operational daily maximum bather load. ­ Circulation rate. ­ Turnover. |  |  |  |  | Not/ Partially Mapped
| K4.3 | Water circulation | · Know the systems for surface water removal (deck level, skimmers and overflow channels). |  |  |  |  | Not/ Partially Mapped
· Know the function of a balance tank.
· Understand why regular checks should be carried out on pool inlets and outlets.
| K4.4 | Water temperature | · Know the recommended water temperature range for different pools. |  |  |  |  | Not/ Partially Mapped
| K4.5 | Water filtration | · Understand the principles of pool water filtration and how to maintain the clarity of the water. |  |  |  | Score | Not/ Partially Mapped
· Know the different features of medium and high rate filters, parts of a filter and procedure involved in backwashing, including reason and recording.
· Know the different filter systems, to include: ­ Sand and glass media filters. ­ Pre-coat (DE) filters. ­ Cartridge filters.
· Understand the importance of the coagulation/flocculation process.
· Know the recommended dilution rate per bather.
| K4.6 | Disinfection of pool water | · Know the factors that influence the choice of residual disinfectant |  |  |  |  | Not/ Partially Mapped
· Understand the different types of residual (primary) disinfection systems, to include: ­ Sodium hypochlorite. ­ Calcium hypochlorite. ­ Chlorine gas. ­ Electrochlorination (salt generation of sodium hypochlorite). ­ Chlorinated isocyanurates. ­ Bromochlorodmithylhydantoin. ­ Sodium bromide plus hypochlorite.
· Understand the different types of non-residual (secondary) disinfection systems, to include: ­ UV. ­ Ozone.
| K4.7 | Energy efficiency | · Know how operatives can improve energy efficiency. |  |  |  |  | Not/ Partially Mapped
· Know the systems that can be used to run an economic, energy efficient and effective pool facility.
|  |  | · Know how to record and review energy usage to improve energy performance. |  |  |  | Score
| Ref | Skills: | Professional Standard Content
| S4.1 | Basic schematic diagram | · Be able to draw a basic schematic diagram to show the water flow through the plant and systems at individual places of work. |  |  |  | Score | Not/ Partially Mapped | 0
| S4.2 | Risk assessments | · Undertake a risk assessment of the storage and use of chemicals. |  |  |  | Score | Not/ Partially Mapped
| S4.3 | Backwashing | · Demonstrate understanding of how to carry out a backwash of the filtration system, cleaning strainer baskets and how to clean and calibrate probes in automatic dosing units. |  |  |  |  | Not/ Partially Mapped
| S4.4 | Appropriate checks | · Carry out appropriate checks and take appropriate corrective action. |  |  |  |  | Not/ Partially Mapped
5. Pool water quality | Ref | K&U | Professional Standard Content
| K5.1 | Water pollution | · Identify the potential causes of water pollution, to include: ­ Physical pollutants. ­ Chemical pollutants. ­ Biological pollutants. |  |  |  | Score | Not/ Partially Mapped | 0
| K5.2 | Hygiene and cleanliness | · Know the importance of good hygiene for both pool operatives and pool user. |  |  |  |  | Not/ Partially Mapped
· Identify ways in which good pool hygiene can be promoted to the pool user.
· Identify ways to minimise the transfer of dirt on to poolside.
|  |  | · Know the correct procedure for effective cleaning of the pool and surrounding environment. |  |  |  | Score
| K5.3 | Emergency procedures | · Understand how to implement emergency procedures in a pool environment. |  |  |  |  | Not/ Partially Mapped
· Know the emergency procedures that should be actioned.
· Know the dangers of cryptosporidium in pools and the key characteristics.
|  |  | · Know the procedure for dealing with the following incidents in the pool: ­ Faecal (Solid). ­ Faecal (Runny). ­ Blood. ­ Vomit. |  |  |  | Score
| K5.4 | Water quality and hygiene | · Know the different types of diseases and infections associated with poor water quality. |  |  |  |  | Not/ Partially Mapped
· Know the importance and purpose of microbiological testing.
|  |  | · Identify how often pools should be microbiologically tested and what action should be taken if results are found to be unsatisfactory. |  |  |  | Score
| Ref | Skills: | Professional Standard Content
| S5.1 | Hygiene and cleanliness | · Ensure pool surrounds and tide marks are cleaned appropriately. |  |  |  | Score | Not/ Partially Mapped | 0
| S5.2 | Water quality and hygiene | · Ensure that microbiological tests are carried out at the recommended frequency and when deemed necessary in other circumstances. Ensure the results are monitored and appropriate action is taken when necessary. |  |  |  | Score | Not/ Partially Mapped
Note on K3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This shows the percentage covered of the knowledge section of maximising participant experience

## Mapping results (hidden)
Mapping Breakdown shows a breakdown of the percentage that your course has mapped to each sections knowledge and skills criteria, and the overall percentage that your course has mapped to the professional standard
|  | Sections | Specifications | %worth of each section | Total % covered of area | Section % of total standard | % covered of entire standard
1 | Knowledge | 4 | 7 | 14.2857 | 0 | 10.4478 | 0
2 | Knowledge | 3 | 7 | 14.2857 | 0 | 10.4478 | 0
| Skills | 2 | 2 | 50 | 0 | 2.9851 | 0
3 | Knowledge | 4 | 11 | 9.0909 | 0 | 16.4179 | 0
| Skills | 2 | 3 | 33.3333 | 0 | 4.4776 | 0
4 | Knowledge | 7 | 19 | 5.2632 | 0 | 28.3582 | 0
| Skills | 4 | 4 | 25 | 0 | 5.9701 | 0
5 | Knowledge | 4 | 12 | 8.3333 | 0 | 17.9104 | 0
| Skills | 2 | 2 | 50 | 0 | 2.9851 | 0
Totals |  | 32 | 67 |  |  | 100 | 0

## Feedback (hidden)
Standardised feedback comments | Assessment methods
Good evidence provided | Multiple
Needs confirmation of resources | Case study
Sufficient detail | Dissertation
Good detail | Exam
Needs clarification of delivery method | Written test
Needs time duration indication | Listening test
Lack of evidence for how this will be delivered | Oral test
Please expand on acronyms | Performance/ practical
Information submitted is too generic | Portfolio
Please elaborate on learning materials | Professional discussion
More research required | Project
Check grammar and spelling | Simulation
Please provide more detail | Online test
Edit | Attendence only
Edit | Assignment
Edit | Other

## Workings out (hidden)
Calculating the totally percentage of knowledge/ skill covered in each section
| K1 | K2 | S2 | K3 | S3 | K4 | S4 | K5 | S5
% value | 14.2857 | 14.2857 | 50 | 9.0909 | 33.3333 | 5.2632 | 25 | 8.3333 | 50
# spec | 7 | 7 | 2 | 11 | 3 | 19 | 4 | 12 | 2
Sections | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 |  | 0 | 0 | 0 | 0 | 0
| 0 | 0 |  | 0 |  | 0 | 0 | 0
| 0 | 0 |  | 0 |  | 0 |  | 0
| 0 | 0 |  | 0 |  | 0 |  | 0
| 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0
0
0
0
0
0
0
0
0